## Hartwell
HARTWELL DAM AND LAKE
GEORGIA AND SOUTH CAROLINA
VII HARTWELL WATER CONTROL PLAN
H7-01. General Objectives.
The authorized purposes of the Hartwell project are to provide water supply, hydroelectric power, flood control, fish and wildlife, water quality and recreation benefits. The operation of the Hartwell project will be to maximize the benefits of these authorized purposes. The Savannah District is responsible for ensuring attainment of the maximum public benefits from each of its water resource projects consistent with the objectives and specific provisions of the authorizing legislation and applicable Corps of Engineers' directives for the project.
H7-02 . Overall Plan for Water Control .
Water control management decisions at the Hartwell Project consider hydrologic and climatologic factors, conditions at the downstream projects, potential threats of flood or drought, present and projected lake levels, and the constraints of recreation, wildlife management, water quality, water supply, and hydroelectric power production. Evaluation of these factors requires well qualified technically trained personnel with special experience in the field of modern hydrology, hydraulic engineering, and water control management. The Savannah District maintains this expertise in the Hydraulics Section of the Hydrology and Hydraulics Branch (the Water Control Center) with the assistance of fish and wildlife and recreation experts from the Operations Division. Close coordination with the plant operators, whose experience and on-site location makes them a vital part of the water control team, is essential. The Savannah District reports water control conditions and activities to the South Atlantic Division (SAD) office in Atlanta.
The Hartwell Project includes 35 feet of conservation storage (elevation 625 to 660 feet NGVD, 1,415,500 ac-ft) and 5 feet of flood control storage (elevation 660 to 665 feet NGVD, 293,100 ac-ft). The project has limited flood control storage during the spring and early summer but increases as the project follows the drawdown in accordance with the rule curve. The area capacity curve can be found on Plate H7.3.
a. System Management Decisions concerning water control for the Hartwell Project are part of a coordinated multi-reservoir system regulation for the Savannah River Basin, as well as part of the operation of the larger power network for the southeastern United States (coordinated through SAD).
Additional regulation is provided by several independent hydroelectric projects in the upland area of the basin. Duke Power Company entered into an operating agreement with the Corps of Engineers upon completion of the Keowee-Jocassee Project. The percentage of conservation storage remaining in lakes Keowee and Jocassee was to be kept in balance with the average percentage of storage remaining at the Hartwell and J. Strom Thurmond projects. This agreement was to minimize the impact of the headwater projects on the operation of the existing Corps projects. An outline of the agreement is shown as Exhibit C.
b. Compatibility Among Purposes . The primary uses of the Hartwell Project that would appear to conflict are flood control and hydroelectric power generation. Regulation for flood control minimizes the quantity of water held by the dam in anticipation of keeping the maximum amount of storage available for flood inflows. Regulation for power production maximizes the water quantity and water surface elevation behind the dam to meet power demands which vary daily, weekly, and seasonally. The objective, then, is to provide a maximum power pool (660 ft. NGVD) for hydropower generation while having sufficient storage to handle upstream flood flows. Additional flexibility is provided by the seasonality of flood flows, seasonal, weekly, and daily variations in peaking power demand, integrated basin regulation, and coordinated southeastern power system operations.
Other uses may also compete for water from the Hartwell Project. Potential for conflict exists among the following:
(1) Fish and wildlife or water quality and releases for flood control. During flood control operations, passing inflow through the project may have negative impacts on water quality or fisheries, both within the lake and downstream.
(2) Fish and wildlife or water quality and turbine releases for power (see section H7-11 below).
(3) Recreation and water supply and hydropower. Particularly during drought periods, potential exists for such a conflict. Continued power generation to meet contractual obligations for electrical power when pool elevations may negatively impact recreational users of the lake.
(4) Recreation and flood control. Due to the risk of flood damages and injuries, any necessary flood control regulation is given highest priority.
c. Normal Regulation Activities . Long term planning and supervision of the operation of rainfall and river stage reporting works is a responsibility of the Water Control Center. Weekly reservoir control activities are as follows:
(1) Weekly Water Volume Analysis . The Water Control Manager compiles necessary basic data on precipitation, river stages, reservoir elevations, and general streamflow conditions, and prepares inflow, discharge, storage and pool elevation predictions by noon each Wednesday for the following week and makes water generation availability analysis and forecasts for the three-reservoir system. Projections consider guide curves, power contract commitments, antecedent moisture conditions, expected rainfall, and rainfall-runoff relationships for the upper Savannah River Basin. Additional considerations that might affect discharges are powerplant maintenance activities, proposed operational changes that would affect power generation, and water level management activities related to fisheries or recreation. Input concerning these matters are normally received on Wednesdays from the Planning Division and the Technical Support Branch of Operations Division.
(2) Weekly Report To The South Atlantic Division (SAD) . The Water Control Center transmits the recommended schedule of power generation to the Water Management Branch at SAD by Wednesday afternoon. Following SAD consultation with the Southeastern Power Administration (SEPA), the marketing agency for federally generated power in the southeast, SAD coordinates any changes to the schedule with the Water Control Center.
(3) Weekly Meeting . Each Thursday morning the Water Control Manager conducts a meeting with Operations and Planning Division personnel to review storage and pool elevation projections and power generation availability analyses. The Water Control Manager transmits water control data to SAD.
(4) Final Generation Schedule . Following confirmation by SEPA, SAD advises the Water Control Center each Friday of the amount of energy to be taken from each of the three projects. SEPA's customers (the power companies) furnish hourly schedules directly to the Project Operator with copies furnished to the Water Control Center.
H7-03. Standing Instructions to Project Operator.
A summary of reservoir regulation procedures for the project operator during both normal and emergency situations is found in Exhibit H7-A. Standing instructions are essential to ensure efficient and safe operation of the project at all times: during normal conditions, communication outages, unforeseen and emergency events. These instructions clearly outline the physical operating constraints (spillway or outlet work restrictions) which ensure operation in a safe manner and within design limitations.
The Hydraulics Section, Hydrology and Hydraulics Branch, Engineering Division, is responsible for water control management within the Savannah District, including the regulation of the Hartwell Project to achieve its project purposes. Operations Division is responsible for the operation and maintenance of these projects. Assigning responsibility for water control management to the Hydraulics Section does not diminish the necessity for or the desirability of appropriate and adequate interstaff coordination. Hydraulics Section is responsible for insuring that such coordination has been effected and subsequent actions are taken. The Project Operator is responsible to the Water Control Manager for all water control actions.
Transmission of instructions from the Water Control Manager through several individuals or organizational units can be a source of delay and misunderstandings. Clear lines of communication and authority must be maintained. Occasionally, water control management decisions necessitate that the Water Control Manager (in Engineering Division) contact the Project Operator directly so that satisfactory instructions can be given or hydrologic data can be obtained. Particularly during time of emergencies, there must be no delay in transmission of instructions or hydrologic data between the Project Operator and the Water Control Manager. In these instances, the Project Operator will act on instructions received directly from the Water Control Manager on all matters regarding the regulation of water. Advisory notification is furnished to Operations Division as soon as possible.
H7-04 . Flood Control .
a. General Regulation . Normal conditions exist when there is no flood, drought or other emergency and none are anticipated. The Hartwell Project includes 5 feet of flood control storage (elevation 660 to 665 feet NGVD, 293,100 acre-feet). A seasonally varying guide curve, shown on Plate H7.8, from elevation 656 to 660 feet, NGVD, provides additional flood control during the winter and early spring.
b. Flood Regulation . The Water Control Manager performs flood routings and makes lake elevation and river stage forecasts, and coordinates and schedules lake releases during flood periods. Flood forecasting is accomplished using the Hydrologic Engineering Center (HEC) computer software HEC-1F, a rainfall model that uses real-time precipitation data to estimate inflows at the projects. HEC-5, an HEC model that simulates and analyzes the operation of reservoir systems, is a highly complex multi-purpose, multiple reservoir system simulation tool. The model is capable of evaluating a reservoir system to determine the best operation for water quantity and quality, evaluating operational concerns such as flood control, hydropower and water supply. Mod-5 is an interactive version of HEC-5, and will enable the Water Control Manager to model various release scenarios to best manage the projects.
During floods, the Water Control Manager forwards reports as necessary to SAD containing data on predicted peak stages and percentage of flood control storage utilized. The Water Control Manager informs responsible District personnel on critical weather and streamflow conditions affecting the public and District activities and coordinates with the Public Affairs Office to issue flood reports on flood emergencies. The Operations Division Readiness Branch (OP-E) coordinates implementation of evacuation plans with local government agencies in advance of any flood release, and dispatches flood survey teams to affected areas and notifies local officials that District facilities and personnel are available upon request to assist in emergency conditions.
When the possibility of flooding conditions at or downstream of the reservoirs exists, the Readiness Branch (OP-E) is contacted. The Water Control Manager furnishes a forecast of pool elevations and releases to be made to meet flood control requirements to the Water Management Branch, SAD. At least one of the following SAD personnel will be contacted at any time during a flood emergency:
Mr. Chris Smith | Office | (404)562-5107
Mr. Trent Ferguson | Office | (404)562-5128
After reviewing these directives, the Hydraulics Section advises SEPA of releases to be made, and then advises the Water Control Management Branch, SAD of arrangements made with SEPA. The Water Control Manager advises the Project Operator of the releases required by spillway gate operation. An advisory notification is then sent to Operations Division. The Water Control Manager will notify Operations Division and SAD of the arrangements made at the first opportunity during normal working hours.
Reservoir operation is dependent upon the various combinations of reservoir stages and runoff, and requires a flexible method of operation. Coordination with the Keowee-Toxaway Project of Duke Power Company, as well as Thurmond and Russell, is required for maximum protection of the Augusta damage center and downstream areas. Flood control storage at the Georgia Power Projects at the headwaters of the Savannah River is negligible, although they may provide useful inflow on during periods of deficit streamflow. All instructions pertaining to reservoir regulation for flood control are to come from the Savannah District. See Table 5-3 for a listing of Savannah District flood control personnel and their phone numbers.
c. Gate Operation . The Hartwell Lake Flood Control Release Schedule is found in Plate H7.4. When Hartwell Lake exceeds its flood control storage, use of the tainter gates according to the Spillway Gate Regulation Schedule (Plate H7.5) is required. All discharges other than through the turbines should be made through the spillway gates. When all spillway gates are to be opened, discharges should be made uniformly across the spillway, as nearly as practicable, by opening gates so that no gate opening is more than one foot larger or smaller than any other gate opening . Gates should be opened beginning near the center of the spillway (#6 and #7) and proceeding outward. When closing the gates, the order is reversed, with #1 and #12 closed first, and proceeding toward the center of the spillway. As during raising, the gates should be closed so that no gate opening is more than one foot larger or smaller than any other gate opening. The spillway gates are numbered 1 through 12 beginning with the gate nearest the powerhouse.
H7-05 . Recreation .
The impact of lake levels upon visitation is largely dependent upon the season of the year in which they occur and the duration of lower lake levels. The Hartwell Project's design fluctuation (drawdown) is 35 feet, between elevations 625 and 660 feet NGVD. The 35-foot drawdown causes severe impacts to recreation activities in and around the lake. Therefore, implementation of the Savannah River Basin Drought Plan is triggered by low lake levels that require reduced outflows in an attempt to lessen the rate of decline.
H7-06 . Water Quality .
The Clean Water Act established a national objective to restore and maintain the chemical, physical and biological integrity of the Nation's waters. The thrust of this objective is to protect all existing and future uses, including assimilative capacity, aquatic life and other water quality aspects, as well as related uses, such as municipal and industrial water supply, recreation and hydropower. Our National policy is that the Federal Government (in design, construction, management, operation and maintenance of facilities) provides leadership in the nationwide effort to protect and enhance the quality of air, water and land resources and complies with all Federal, state, interstate and local requirements in the same manner and extent as non-Federal entities. Accordingly, the following general water quality management objectives apply to all South Atlantic Division lake projects:
Ensure that water quality, as affected by the project and its operation, is suitable for project purposes, existing water uses, and public health and safety.
Define baseline water quality conditions for each project. This effort consists of a pre-project water quality evaluation, and a description of the post-construction water quality characteristics developed at the earliest time that data collection and evaluation are practical.
Establish and maintain a water quality monitoring and data evaluation program adequate to achieve water quality management objectives and demonstrate project performance.
Ensure that, to the extent practicable, water quality conditions associated with the project are in full compliance with applicable water quality standards.
Like all deep lakes in the Southeastern United States, Hartwell Lake stratifies during the summer months. A thermocline (temperature-density gradient in a layer called the metalimnion) is established during the summer months as the top waters (epilimnion) warm quicker than those at the bottom (hypolimnion). The thermocline essentially blocks circulation between the layers (which is normally provided by wind induced currents) from providing oxygen from the atmosphere and top waters to the bottom waters. Continued deposition of oxygen-demanding substances deplete the dissolved oxygen within the bottom waters, particularly at the mud - water interface. During hydropower generation in the summer, the waters discharged through the Hartwell Dam are drawn from the hypolimnion. As the summer progresses, the quality of these waters (dissolved oxygen content) degrades until "turnover," that is, the recirculation of the waters in the fall, when the surface water has cooled to the temperature of the bottom waters, eliminating the temperature/density gradient, and the layers mix.
H7-07 . Fish and Wildlife .
The Savannah District conducts the following Water Control Management for Fish Management Purposes:
a. Fish Spawning . Water control management for fish management purposes is conducted in accordance with SAD Regulation 1130-2-16 (Exhibit B). At the earliest possible date, Operations Division notifies the Water Control Manager of their estimate of the beginning and ending of the largemouth bass spawning period. During the spawning period, the Water Control Manager schedules releases (to the maximum extent possible without jeopardizing other project purposes) so that the downward fluctuation or lowering of the lake level will not exceed 6 inches from the maximum elevation reached during the spawning period. Should it appear that maintaining lake level fluctuations within the six inch limit will not be possible, the SAD Water Control Management Branch and the Project Manager are notified by the Water Control Manager as far in advance as possible.
b. Fish Entrainment . The Savannah District restricts discharges at the Hartwell Project when there is a threat of killing significant numbers of fish. Fish kills at the Hartwell Project have involved the blueback herring. The Savannah District consequently developed the Plan of Action to Prevent or Minimize Blueback Herring Entrainment at Hartwell Dam. (refer to Exhibit H7-C of this plan). The likelihood of a fish kill is determined by the Operations Division Fisheries Biologist at the project. Operations Division has a seasonal monitoring program conducted by the Waterways Experiment Station (WES) within the lakes to detect potential fish kills. Should a fish kill occur, notification of personnel will follow the procedures of the current Plan of Action to Prevent or Minimize Blueback Herring Entrainment. Power system emergencies which threaten interruption of power and/or brownouts override this policy.
H7-08 . Water Supply .
Although not a specifically authorized project purpose, water supply is an important consideration in the water control management of the upper Savannah River Basin. There are approximately 73 water users that obtain all or a portion of their municipal or industrial water supply from the Savannah River or from Hartwell, Russell and Thurmond Lakes. The Water Control Manager notifies water users of any impending interruption in their water supplies due to modified project releases, and forwards periodic reports to SAD during droughts showing projected reservoir stages including a "worst case" hydrologic condition.
HEC-5 is the computer model which we have chosen to predict pool fluctuations. This model takes into account predicted inflows, and hydropower demands, as well as various operating restrictions which are imposed during drought periods.
H7-09 . Hydroelectric Power .
All power produced at Federal projects (except the Tennessee Valley Authority and St. Stephens) in the states of Georgia, South Carolina, North Carolina, Virginia, Florida, Kentucky, Tennessee, West Virginia, and Alabama is marketed by the Southeastern Power Administration (SEPA). SEPA combines the three Savannah District projects with seven Mobile District projects (in the Alabama-Coosa and Apalachicola-Chattahoochee-Flint Basins) to form the Georgia-Alabama-South Carolina System. Hydropower may be supplied by any combination of projects within the ten plant system. Under normal circumstances, if one basin or portion of a basin is unable to meet the power production expected, that shortage can be transferred to, or "made up" in, another basin. SEPA markets the power through contracts negotiated with certain preferential customers for the delivery of energy and the ability to meet peaking demands.
The currently installed capacity of the Hartwell Project is four 66,000 kilowatt conventional generator units (numbered one through four), and one 84,000 kilowatt conventional generator (number five) for a total of 348 megawatts.
H7-10 . Navigation .
The authorizations for both the upstream Hartwell Project and downstream Thurmond Project include navigation on the lower Savannah River (downstream of the Thurmond Project). Lack of waterborne commerce on the Savannah River Below Augusta Navigation Project has fallen in recent decades to near zero and that navigation project is inactive. Consequently, there is no current operation of the three projects for navigation. Presently, the minimum flow requirement of 5800 cfs which was authorized at the Thurmond Project for navigation on the lower Savannah River has been succeeded by minimum Thurmond discharges which are based on the needs of downstream water supply withdrawals. However, should navigation become active again, Thurmond discharges, and accordingly Russell and Hartwell discharges, may be regulated to provide suitable navigation depths.
H7-11 . Major Constraints .
Constraints are conditions that arise subsequent to project design that prevents (or is allowed to prevent) the achievement of a water control objective. Such constraints may include physical, legal, political, and social factors as well as conflicts between purposes.
At present, the major constraint effecting the Hartwell Project is the seasonal fishkill of the blueback herring. In response to this occurrence the Savannah District has developed and implemented a plan of action to prevent or minimize the entrainment of the Blueback Herring (refer to Exhibit H7-C of this Water Management Plan).
Another constraint is the location of houses within the flood control pool. Presently there are several structures which experience flooding as Hartwell's pool level approaches 665 ft. NGVD. Efforts will be made to avoid flooding the residents of Hartwell Lake who live within the flood control pool but under the threat of a severe flood these structures would be impacted, as the safety and integrity of the dam takes precedence.
H7-12 . Deviation From Normal Regulation .
a. Emergency Regulation . Occasionally, a need may arise to temporarily modify the water releases from a project. Examples of these needs are for search and rescue or to control a downstream pollutant spill.
In the execution of the water control plan, appropriate attention is given to project safety to insure that the project is operated for the safety of its users and the general public. Care is exercised in the scheduling of reservoir releases to assure that controlled releases minimize project impacts and do not jeopardize the safety of persons engaged in activities downstream of the dam. These provisions require the issuance of adequate warnings or otherwise alerting all affected interests to possible hazards from project activities.
Should a person fall into the tailrace or intake section of the project or come into contact with an energized conductor within or feeding from the project, the powerplant operator or nearest responsible employee takes emergency actions in accordance with established procedures. The District Engineer is occasionally requested to deviate from normal regulation of the project. Deviation requests usually fall into the following categories:
Emergencies that can be expected to occur at some time are: accidents, including drowning, and failure of operation facilities. Necessary action under emergency conditions is taken immediately unless such action would create equal or worse conditions. The SAD Office is notified as soon as is practicable. A written confirmation showing the deviation and conditions will be furnished to SAD.
b. Unplanned Minor Variations . Unplanned variations may occur for non-emergencies, normally for construction for utilities or bridges, for a period of a few days or hours.
c. Planned deviations . An analysis of conditions, alternatives, expected benefits, probable effects will be coordinated with SAD by telephone, fax or E-mail. Examples of planned deviations could be to prevent fish entrainment, or for drought contingencies. A copy of the drought contingency plan is included as Exhibit M, while the drought plan action levels are shown on Plate H7.10.EXHIBIT H7-A
STANDING INSTRUCTIONS TO THE PROJECT OPERATOR
FOR WATER CONTROL
HARTWELL DAM AND LAKE PROJECT
1. BACKGROUND AND RESPONSIBILITIES
a. General Information . These "Standing Instructions to the Project Operator for Water Control" are written in compliance with Paragraph 9-2 of Engineering Manual 1110-2-3600 (Engineering and Design, MANAGEMENT OF WATER CONTROL SYSTEMS, 30 November 1987) and with Engineer Regulation 1110-2-240 (Engineering and Design, WATER CONTROL MANAGEMENT, 8 October 1982).
(1) Project Purposes . The Hartwell Project is operated for Hydropower, Recreation, Fish and Wildlife, Flood Control, Water Supply and Water Quality .
(2) Chain of Command . The Project Operator is responsible to the Water Control Manager for all water control actions.
(3) Structure . The Hartwell Dam is located at Savannah River Mile 288.9, Hartwell County, Georgia. The dam is a concrete gravity and earth embankment structure with a concrete gravity ogee spillway. The Hartwell Powerhouse is located on the Georgia (west) side, immediately downstream of the dam.
(4) Operations and Maintenance (O&M). All O&M activities are the responsibility of the U.S. Army Corps of Engineers.
b. Role of the Project Operator .
(1) Normal Conditions (dependent on day-to-day situation ). During normal conditions, all releases will be made through the turbine units. The water control manager will coordinate the weekly water control actions with SEPA. The Project Operator will then receive instructions from SEPA. This communication will be increased to a daily basis if the need develops.
(2) Emergency Conditions (flood or drought) . The Project Operator will be instructed by water control managers on a daily or hourly basis for water control actions during flood events and other emergency conditions. In the event that communications with water control managers are cut off during a flood event, the operator should regulate plant discharge in accordance with Plate H7.4, Flood Control Release Schedule, Plate H7.5, Spillway Gate Regulation Schedule, and Plate H7.6, Tainter Gate Rating Curves.
1. DATA COLLECTION AND REPORTING .
a. Normal Conditions . Project data is recorded hourly by the project operator. The data is retrieved hourly by the Water Control Manager and loaded into the Water Control Data System. The data is subsequently made available on the Water Management web site at http://water.sas.usace.army.mil:
(1) Pool Elevations in feet NGVD are collected hourly.
(2) Basin Average Precipitation in hundredths of an inch is estimated hourly from NWS doppler radar.
(3) Tailwater Elevations in feet NGVD are collected hourly.
(4) Discharge in cubic feet per second is collected hourly.
(5) Inflow to the lake in cubic feet per second is collected hourly.
(6) Scheduled and Actual Generation in megawatt-hours is collected hourly.
b. Emergency Conditions . Report hourly the elevation, turbine discharge, spillway discharge, and general project status to the Water Control Manager.
c. Regional Hydro-meteorological Conditions . The Project Operator will be informed by the Water Control Manager of regional hydrometeorological conditions that may impact the structure.
1. WATER CONTROL ACTION AND REPORTING .
a. Normal Conditions . The Project Operator reports directly to the Water Control Manager.
b. Emergency Conditions . The Project Operator will follow the Savannah River Emergency Action Plan (District Pamphlet 1130-2-16, Appendix B) for emergency notification procedures.
c. Inquiries . All significant inquiries received by the Project Operator from citizens, constituents or interest groups regarding water control procedures or actions must be referred directly to the Water Control Manager.
d. Water Control Problems . The Project Operator must immediately notify the Water Control Manager, by the most rapid means available, in the event that an operational malfunction, erosion or other incident occurs that could impact project integrity in general, or water control capability in particular. Such incidents are discussed in Appendix A of DP 1130-2-16, the Emergency Action Plan.
EXHIBIT H7-B
PERTINENT DATA
HARTWELL DAM AND LAKE
LOCATION
In the Piedmont Physiographic Province at Latitude 34 o 21' north, Longitude 82o 48' west
On the Savannah River:
288.9 miles above the mouth
274.5 miles above Savannah, Georgia
89.3 miles above Augusta, Georgia
67.3 miles above Thurmond Dam
29.8 miles above Russell Dam
In Hart County, Georgia 7 miles east of Hartwell, Georgia 2300 feet upstream of U.S. Highway 29
DRAINAGE AREA | percentage | square miles
Above the mouth of the Savannah River | 100 | 10579
Above Augusta, Georgia (Butler Cr. gage) | 71 | 7508
Above J. Strom Thurmond Dam | 58 | 6144
Above Richard B. Russell Dam | 27 | 2890
Above Hartwell Dam | 20 | 2088
Basin between Russell Dam and Hartwell Dam | 8 | 802
STORAGE VOLUMES | Elevation (ft NGVD) | Acre-feet
Spillway design flood | 674 | 3430000
Standard project flood | 667.9 | 3020000
Flood control pool | 665 | 2842700
Maximum conservation pool | 660 | 2550000
Minimum conservation pool | 625 | 1134100
Conservation storage, usable | 625 to 660 | 1416000
Flood storage | 660 to 665 | 293000
Surcharge storage | 665 to 674 | 596000
POWERPLANT ELEVATIONS | Elevation (ft NGVD)
Switchyard | 513
Distributor | 484
Bottom of draft tube | 442
RESERVOIR AREAS | Elevation(ft NGVD) | Acres
Spillway design flood (Max Surcharge Pool) | 674 | 71300
Standard project flood | 667.9 | 64800
Flood control pool | 665 | 61400
Maximum conservation pool | 660 | 55950
Minimum conservation pool | 625 | 27650
Limits of clearing | 630 to 661 | 26600
| below 630 | Partial clearing
DAM, SPILLWAY, INTAKE AND POOL ELEVATIONS | Feet NGVD
Top of dam | 679
Maximum Observed Pool | 665.4 | 1964-04-08
Minimum Observed Pool | 637.49 | 2008-12-10
Spillway design flood | 674
Induced surcharge pool | 674
Standard project flood | 667.9
Top of tainter gates, closed | 665
Flood control pool | 665
Maximum conservation pool | 660
Average conservation pool | 652
Minimum conservation pool | 625
Spillway crest | 630
Intake invert for Hydropower | 500
Spillway bucket lip | 517
Elevation, bottom of sluice | 500
Draft tube exit | 442
DAM, SPILLWAY AND INTAKE DIMENSIONS
Concrete gravity and earth embankment with concrete gravity ogee spillway
Length of concrete sections | 1900 feet
Length of earth embankment | 15,952 feet
Maximum height of concrete section | 204 feet
Maximum height of earth embankment | 106 feet
Length of intake section | 340 feet
Number of sluices | 2
Width of sluices | 5.67 feet
Height of sluices | 10 feet
Gross length of spillway | 568 feet
Length of clear opening | 568 feet
Tainter gates (12) | each 40 feet wide by 35.5 feet high
Flip bucket | 20 degrees
Radius of bucket | 40 feet
TAILWATER ELEVATIONS | Feet NGVD
Spillway design flood 565,000 cfs | 519.3
Standard project flood 420,000 cfs | 512
Maximum pool of record | 491.6
Four units operating at average head | 481.6
Maximum static condition | 482.6
Streambed | 475
DESIGN FLOWS |  | Cubic feet per second
Spillway Design Flood | Peak Reservoir Inflow | 875,000 cfs
| Maximum Estimated Outflow | 565,000 cfs
Standard Project Flood (SPF) | Peak Reservoir Inflow | 435,000 cfs
| Maximum Estimated Outflow | 325,000 cfs
POWERPLANT EQUIPMENT
Initial units | four conventional
Supplimental Units | one conventional
Maximum net operating head | 192 feet
Average operating head | 171 feet
Minimum operation head | 142 feet
Turbine capacity at average head | 91,500 hp per unit
Maximum discharge at minimum head | 6500 cfs per unit
Length of draft tube | 66 feet
GENERATORS
Initial installation - four conventional units each at | 66 MW initial | 85 MW current
Supplemental installation - one conventional unit at | 84 MW initial | 90 MW current
Total installation | 426 MW
Average annual energy | 457,342,000 kilowatt-hours
Generator rating | 90% pf, units 1-4; 95% pf, unit 5 | 66,000 kva
Generator speed | 100 rpm
Generator voltage | 13.8 kV
Transformer rating | two 3-phase | 56.6 mva
Transformer voltages, kV | 13.2 to 230
SWITCHYARD
Location west (Georgia) bank, downstream
Initial number of transformer bays | 2
Ultimate number of transformer bays | 3
Line positions | 4
Equipment voltage | 230 kV

## RBR
RICHARD B. RUSSELL DAM AND LAKE
GEORGIA AND SOUTH CAROLINA
VII - WATER CONTROL PLAN
R7-01 . General Objectives .
The authorized purposes of the Richard B. Russell project are to provide water supply, hydroelectric power, flood control, fish and wildlife, water quality and recreation benefits. The operation of the Russell project will be to maximize the benefits of these authorized purposes. This water control management plan has been developed for the Richard B. Russell Dam and Lake Multiple Purpose Project to conform with the objectives and specific provisions of its authorizing legislation and applicable Corps of Engineers directives.
R7-02 . Overall Plan for Water Control .
The Russell Project includes 5 feet of conservation storage (elevation 470 to 475 feet NGVD, 126,800 acre-feet) and 5 feet of flood control storage (elevation 475 to 480 feet NGVD, 140,000 acre-feet). The project has limited conservation and flood control storage and a constant guide curve (target pool level) with no seasonal drawdown. The area-capacity curve for the project is found at Plate R7.3.
Decisions concerning water control for the Russell Project are part of coordinated multi-reservoir system regulation for the Savannah River Basin, as well as part of the operation of the larger power network for the southeastern United States (coordinated through SAD).
Long term planning and supervision of the operation of rainfall and river stage reporting works is a responsibility of the Water Control Center. Weekly activities are the following:
a. Weekly Water Volume Analysis . The Water Control Manager compiles necessary basic data on precipitation, river stages, reservoir elevations, and general streamflow conditions, and prepares inflow, discharge, storage and pool elevation projections by noon each Wednesday for the following week and makes water generation availability analyses and forecasts for the three-reservoir system. Projections consider guide curves (a constant elevation of 475 feet above mean sea level at the Russell Project), power contract commitments, antecedent and expected rainfall, and rainfall-runoff relationships for the upper Savannah River Basin.
Additional considerations that might affect discharges are powerplant maintenance activities, proposed operational changes which would affect power generation, and water level management activities related to fisheries or recreation. Input concerning these matters are normally received on Wednesdays from the Planning Division and the Technical Support Branch of Operations Division.
b. Weekly Report to the South Atlantic Division (SAD) . The Water Control Center transmits the recommended schedule of power generation to the Water Management Branch at SAD by Wednesday afternoon. Following SAD consultation with the Southeastern Power Administration (SEPA), the marketing agency for Federally generated power in the southeastern states, SAD coordinates any changes to the schedule with the Water Control Center.
c. Weekly Meeting . Each Thursday morning the Water Control Manager conducts a meeting with Operations and Planning Division personnel to review storage and pool elevation projections and power generation availability analyses. The Water Control Manager transmits water control data (pool elevations, inflows, outflows, precipitation, hydrographs at downstream control points, and other hydrologic data) to SAD.
d. Final Generation Schedule . Following confirmation by SEPA, SAD advises the Water Control Center each Friday of the amount of energy to be taken from each of the three projects. Power companies furnish hourly schedules directly to the Project Operator with copies furnished to the Water Control Center.
R7-03 . Standing Instructions to the Project Operator .
A summary of reservoir regulation procedures for the project operator during both normal and emergency situations is found in Exhibit R7-A. The Hydraulics Section, Hydrology and Hydraulics Branch, Engineering Division, is responsible for water control management within the Savannah District, including the regulation of the Richard B. Russell Project to achieve its project purposes. Operations Division is responsible for the operation and maintenance of these projects. Assigning responsibility for water control management to the Hydraulics Section does not diminish the necessity for or the desirability of appropriate and adequate inter-staff coordination. Hydraulics Section is responsible for ensuring that such coordination has been effected and subsequent actions are taken. The Project Operator is responsible to the Water Control Manager for all water control actions.
Transmission of instructions from the Water Control Manager through several individuals or organizational units can be a source of delay and misunderstandings. Clear lines of communication and authority must be maintained. Occasionally, water control management decisions necessitate that the Water Control Manager (in Engineering Division) contact the Project Operator directly so that satisfactory instructions can be given or hydrologic data can be obtained. Particularly during time of emergencies, there must be no delay in transmission of instructions or hydrologic data between the Project Operator and the Water Control Manager. In these instances, the Project Operator will act on instructions received directly from the Water Control Manager on all matters regarding the regulation of water. Advisory notification is furnished to Operations Division as soon as possible.
R7-04 . Flood Control .
Under flood conditions, the water management objective of the Russell Project is to pass all inflow through the Russell Project, operating jointly with the Hartwell and Thurmond Projects to minimize flooding downstream. Achieving this objective requires turbine discharge and may require spillway discharge.
a. General . The Russell Project includes 5 feet of flood control storage (elevation 475 to 480 feet NGVD, 140,000 acre-feet). The limited conservation storage (5 feet from elevation 470 to 475 feet NGVD, 126,800 acre-feet) necessitates a constant guide curve (a target pool level at elevation 475) with no additional flood storage provided by seasonal drawdown.
b. Flood Regulation . The Water Control Manager performs flood routings and makes lake elevation and river stage forecasts, and coordinates and schedules lake releases during flood periods. During floods, the Water Control Manager forwards reports as necessary to SAD containing data on predicted peak stages and percentage of flood control storage used.
The Water Control Manager informs responsible District personnel on critical weather and streamflow conditions affecting the public and District activities and coordinates with the Public Affairs Office to issue flood reports on flood emergencies. When the possibility of flooding conditions at or downstream of the reservoirs exists, the Savannah District Operations Division, Readiness Branch (OP-E) is contacted. OP-E coordinates implementation of evacuation plans with local government agencies in advance of any flood release, and dispatches flood survey teams to impacted areas and notifies local officials that District facilities and personnel are available upon request to assist in emergency conditions. The Water Control Manager furnishes a forecast of pool elevations and releases to be made to the SAD Water Management Branch. At least one of the following SAD personnel will be contacted during a flood emergency:
Mr. Chris Smith | Office | (404)331-6705
Mr. Gary Mauldin | Office | (404)331-5232
The Richard B. Russell Lake Flood Control Release Schedule is found in Plate R7.4. As part of the system regulation of the upper Savannah River Basin, flood control regulation considers the current lake levels and trends in lake levels within both Russell Lake and downstream Thurmond Lake. When Russell Lake is neither in flood control regulation nor expected to be so, the schedule limits Russell turbine releases according to flood control conditions within Thurmond Lake. Damage centers are generally downstream of Thurmond Dam, particularly within the vicinity of the Augusta metropolitan area.
When Russell Lake is within its five feet of flood control storage, regulation depends upon the trend in elevation. If the Russell elevation is still rising but not expected to go into surcharge storage (requiring use of the spillway gates), turbine releases are limited according to whether Thurmond Lake is or is not in flood control regulation. If the Russell elevation is still rising and is expected to reach the top of flood control storage (which would again require use of the spillway gates), turbine releases are increased to 30,000 cfs. When the Russell elevation is falling, regulation depends upon the flood condition and trend within Thurmond Lake, generally limiting turbine releases to a maximum of 20,000 cfs.
c. Gate Operation . When Russell Lake exceeds its flood control storage, use of the tainter gates according to the Spillway Gate Regulation Schedule (Plate R7.5) is required. All discharges other than through the turbines should be made through the spillway gates. When all spillway gates are to be opened, discharges should be made uniformly across the spillway, as nearly as practicable, by opening gates so that no gate opening is more than one foot larger or smaller than any other gate opening . Gates should be opened beginning near the center of the spillway (#5 and #6) and proceeding outward. When closing the gates, the order is reversed, with #1 and #10 closed first, and proceeding towards the center of the spillway. As during raising, the gates should be closed so that no gate opening is more than one foot larger or smaller than any other gate opening. The spillway gates are numbered 1 through 10 beginning with the gate nearest the powerhouse.
R7-05 . Recreation .
The impact of lake levels upon visitation is largely dependent upon the season of the year during which they occur and the duration of lower lake levels. The Russell Project's design fluctuation (drawdown) is five feet, between elevations 470 and 475 feet above mean sea level. The normal five-foot drawdown causes minimal impacts to recreation activities in and around the lake. The project has not experienced low lake levels throughout an entire visitation season, so estimates of drought impacts are speculative.
R7-06 . Water Quality .
Like all deep lakes in the South, Russell Lake stratifies during the summer months. A thermocline (temperature/density gradient in a layer called the metalimnion) is established during the summer months as the top waters (epilimnion) warm quicker than those at the bottom (hypolimnion). The thermocline essentially blocks circulation between the layers (which is normally provided by wind induced currents) from providing oxygen from the atmosphere and top waters to the bottom waters. Continued deposition of oxygen-demanding substances deplete the dissolved oxygen within the bottom waters, particularly at the mud and water interface. During hydropower generation in the summer, the waters discharged through the Russell Dam are drawn from the hypolimnion. As the summer progresses, the quality of these waters (dissolved oxygen content) degrades until "turnover". Turnover is the recirculation of the waters in the fall when the surface water has cooled to the temperature of the bottom waters, eliminating the temperature - density gradient.
In the early design stage of the Russell Project (July 1972), a joint Federal-State Technical Committee was established to evaluate the water quality characteristics of the project as an integral part of the three-reservoir system. Prior to this time, the State of Georgia had established a minimum of 6.0 milligrams per liter (mg/l) of dissolved oxygen (D.O.) for this portion of the Savannah River (main inflow to the Thurmond Project and the tailwater of the Russell Project). The Savannah District adopted 6.0 mg/l D.O. as the goal for discharges from the Russell Dam into this portion of the Savannah River.
Management of reservoir releases for water quality at the Russell Project lead to the design, installation and operation and maintenance of the Russell oxygen distribution system (RBR O2 system). The RBR O2 system consists of two arrays of rubber (originally ceramic) diffusers near the bottom of the lake. The "pulse" system is located in the forebay on the face of the dam and the "continuous" system is one mile upstream. Oxygen passes through the diffusers in very small bubbles (increasing the surface area to volume ratio to allow absorption into the water column). The two systems increase the oxygen content of the forebay portion of the hypolimnion, and, consequently, the hydropower generation discharge from Russell Dam. By controlling the quantity of oxygen injected through the O2 system, (from about 10 tons per day in May to about 75 tons per day in November before turnover), the Savannah District maintains an average of 6.0 mg/l dissolved oxygen in the Russell discharge.
Occasionally, a need may arise to temporarily modify the water releases from the project to provide a specified downstream flow for a particular event (such as environmental monitoring), to allow additional storage of injected oxygen in the forebay water column prior to discharge, or to control a downstream pollutant. See section 7-12, Deviation from Normal Regulation, below.
R7-07 . Fish and Wildlife .
The Savannah District conducts the following Water Control Management for Fish Management Purposes:
a. Fish Spawning . Water control management for fish management purposes is conducted in accordance with SAD Regulation 1130-2-16 (Exhibit B). At the earliest possible date, Operations Division notifies the Water Control Manager of the beginning and ending of the large-mouth bass spawning period. During the spawning period, the Water Control Manager schedules releases (to the maximum extent possible without jeopardizing other project purposes) so that the downward fluctuation or lowering of the lake level will not exceed 6 inches from the maximum elevation reached during the spawning period. Should it appear that maintaining lake level fluctuations within the six inch limit will not be possible, SAD Water Control Management Branch and the Project Manager are notified by the Water Control Manager as far in advance as possible.
b. Fish Entrainment . The Savannah District restricts discharges at the Russell Project when there is a threat of killing significant numbers of fish. Fish kills at the upstream Hartwell Project and downstream Thurmond Project have involved the blueback herring. The Savannah District consequently developed the Plan of Action to Prevent or Minimize Blueback Herring Entrainment at Hartwell and J. Strom Thurmond Dams (Exhibit H7-C). Should fish kills occur at the Russell Project, procedures similar to that adopted for the Hartwell and Thurmond Projects are instituted for Russell. The likelihood of a fish kill is determined by the Operations Division Fisheries Biologist at the project. Operations Division has a seasonal monitoring program conducted by the Waterways Experiment Station (WES) within the lakes to detect potential fish kills. Should a fish kill occur, notification of personnel will follow the procedures of the current Plan of Action to Prevent or Minimize Blueback Herring Entrainment (most recently prepared in 1995). Power system emergencies that threaten interruption of power and/or brownouts override this policy.
R7-08 . Water Supply .
Although not a specifically authorized project purpose, water supply is an important consideration in the water control management of the upper Savannah River Basin. There are approximately 73 water users that obtain all or a portion of their municipal or industrial water supply from the Savannah River or from Hartwell, Russell and Thurmond Lakes.
The Water Control Manager notifies water users of any impending interruption in their water supplies due to modified project releases, and forwards periodic reports to SAD during droughts showing projected reservoir stages including a "worst case" hydrologic condition.
R7-09 . Hydroelectric Power .
All power produced at Federal projects (except the Tennessee Valley Authority and St. Stephens) in the states of Georgia, South Carolina, North Carolina, Virginia, Florida, Kentucky, Tennessee, West Virginia, and Alabama is marketed by the Southeast Power Administration (SEPA). SEPA combines the three Savannah District projects with seven Mobile District projects (in the Alabama-Coosa and Apalachicola-Chattahoochee-Flint Basins) to form the Georgia-Alabama-South Carolina System. Hydropower may be supplied by any combination of projects within the ten-plant system. Under normal circumstances, if a basin or portion of a basin is unable to meet the power demands expected, that shortage can be transferred to, or "made up" in, another basin. SEPA markets the power through capacity and energy contracts negotiated with certain preference customers for the delivery of energy and the ability to meet peaking demands.
The currently installed capacity of the Richard B. Russell Project is four 75,000 kilowatt conventional generator units (numbered one through four), for a total of 300 megawatts. The addition of four 75,000 kilowatt pump turbine generator units (numbered five through eight) will double the rated power capacity of the Russell plant to 600 megawatts.
R7-10 . Navigation .
Although navigation is not specifically authorized as a project purpose at the Russell Project, the authorizations for both the upstream Hartwell Project and downstream Thurmond Project do include navigation on the lower Savannah River (downstream of the Thurmond Project). Lack of waterborne commerce on the Savannah River Below Augusta Navigation Project has fallen in recent decades to near zero and that navigation project is inactive. Consequently, there is no current operation of the three projects for navigation. Presently, the minimum flow requirement of 5800 cfs that was authorized at the Thurmond Project for navigation on the lower Savannah River has been succeeded by minimum Thurmond discharges that are based on the needs of downstream water supply withdrawals. However, should navigation become active again, Thurmond discharges, as well as Russell and Hartwell discharges, may be regulated to provide suitable navigation depths.
R7-11 . Other .
Incidental spills may occur for debris control (in the spillway), low flow augmentation, special or emergency drawdown, water table considerations, or to accommodate construction or testing.
R7-12 . Deviation from Normal Regulation .
The District Engineer is occasionally requested to deviate from normal regulation of the project. Prior approval for a deviation is obtained from the South Atlantic Division (SAD) Office except as noted in subparagraph a below. Deviation requests usually fall into the following categories:
a. Emergencies . Some emergencies that can be expected are: drowning and other accidents, and failure of operation facilities. Necessary action under emergency conditions is taken immediately unless such action would create equal or worse conditions. The SAD Office is informed as soon as practicable. A written confirmation showing the deviation and conditions will be furnished to SAD.
b. Unplanned minor deviations . There are unplanned instances that create a temporary need for minor deviations from the normal regulation of the lake, although they are not considered emergencies. Construction accounts for the major portion of the incidents and includes utility stream crossings, bridge work, and major construction contracts. Changes in releases are sometimes necessary for maintenance and inspection. Requests for changes of release rates are generally for a few hours to a few days. Each request is analyzed on its merits. Consideration is given to upstream watershed conditions, potential flood threat, conditions of the lake, and possible alternative measures. In the interest of maintaining good public relations, the requests are complied with, providing there are no adverse effects on the overall regulation of the project for the authorized purposes. Approval for these minor deviations will normally be obtained from SAD by telephone. A written confirmation showing the deviation and conditions will be furnished to SAD.
c. Planned deviations . An analysis of conditions, alternatives, expected benefits, probable effects will be coordinated with SAD by telephone, fax or E-mail. Examples of planned deviations could be to prevent fish entrainment, or for drought contingencies. A copy of the drought contingency plan is included as Exhibit M. EXHIBIT R7-A
STANDING INSTRUCTIONS TO THE PROJECT OPERATOR FOR WATER CONTROL
RICHARD B. RUSSELL DAM AND LAKE PROJECT
1. BACKGROUND AND RESPONSIBILITIES
a. General Information . These "Standing Instructions to the Project Operator for Water Control"; are written in compliance with Paragraph 9-2 of Engineering Manual 1110-2-3600 (Engineering and Design, MANAGEMENT OF WATER CONTROL SYSTEMS, 30 November 1987) and with Engineer Regulation 1110-2-240 (Engineering and Design, WATER CONTROL MANAGEMENT, 8 October 1982).
(1) Project Purposes . The Richard B. Russell Project is operated for Hydropower, Recreation, Fish and Wildlife, Flood Control, Water Supply and Water Quality .
(2) Chain of Command . The Project Operator is responsible to the Water Control Manager for all water control actions.
(3) Structure . The Richard B. Russell Dam is located at Savannah River Mile 259.1, Elbert County, Georgia and Abbeville County, South Carolina. The dam is a concrete gravity and earth embankment structure with a concrete gravity ogee spillway. The Russell Powerhouse is located on the Georgia (west) side, immediately downstream of the dam.
(4) Operations and Maintenance (O&M). All O&M activities are the responsibility of the U.S. Army Corps of Engineers.
b. Role of the Project Operator .
(1) Normal Conditions (dependent on day-to-day situation) . During normal conditions, all releases will be made through the eight turbine units. The water control manager will coordinate the weekly water control actions with SEPA. The Project Operator will then receive instructions from SEPA. This will be increased to a daily basis if the need develops.
(2) Emergency Conditions (flood or drought) . The Project Operator will be instructed by water control managers on a daily or hourly basis for water control actions during flood events and other emergency conditions. In the event that communications with water control managers are cut off during a flood event, the operator should regulate plant discharge in accordance with Plate R7.4, Flood Control Release Schedule, Plate R7.5, Spillway Gate Regulation Schedule, and Plate R7.6, Tainter Gate Rating Curves.
1. DATA COLLECTION AND REPORTING .
a. Normal Conditions . Project data is recorded hourly by the project operator. The data is retrieved hourly by the water Control manager and loaded into the Water Control Data System. The data is subsequently made available on the Water Management web site at http://water.sas.usace.army.mil:
(1) Pool Elevations in feet NGVD are collected hourly.
(2) Basin Average Precipitation in hundredths of an inch is estimated hourly from NWS doppler radar.
(3) Tailwater Elevations in feet NGVD are collected hourly.
(4) Discharge in cubic feet per second is collected hourly.
(5) Inflow to the lake in cubic feet per second is collected hourly.
(6) Scheduled and Actual Generation in megawatt-hours is collected hourly.
b. Emergency Conditions . Report hourly the elevation, turbine discharge, spillway discharge, and general project status to the Water Control Manager.
c. Regional Hydro-meteorological Conditions . The Project Operator will be informed by the Water Control Manager of regional hydrometeorological conditions that may/will impact the structure.
Exhibit R7-A
1. WATER CONTROL ACTION AND REPORTING .
a. Normal Conditions . The Project Operator reports directly to the Water Control Manager.
b. Emergency Conditions . The Project Operator will follow the Savannah River Emergency Action Plan (District Pamphlet 1130-2-16, Appendix B) for emergency notification procedures.
c. Inquiries . All significant inquiries received by the Project Operator from citizens, constituents or interest groups regarding water control procedures or actions must be referred directly to the Water Control Manager.
d. Water Control Problems . The Project Operator must immediately notify the Water Control Manager, by the most rapid means available, in the event that an operational malfunction, erosion or other incident occurs that could impact project integrity in general, or water control capability in particular. Such incidents are discussed in Appendix A of DP 1130-2-16, the Emergency Action Plan.
EXHIBIT R7-B
PERTINENT DATA
RICHARD B. RUSSELL DAM AND LAKE
LOCATION
In the Piedmont Physiographic Province at Latitude 34o 01' north, Longitude 82o 36' west
On the Savannah River:
259.1 miles above the mouth
244.7 miles above Savannah, Georgia
59.5 miles above Augusta, Georgia
37.5 miles above Thurmond Dam
29.8 miles below Hartwell Dam
In Elbert County, Georgia and Abbeville County, South Carolina
18 miles southeast of Elberton, Georgia
4 miles southwest of Calhoun Falls, South Carolina
40 miles northeast of Athens, Georgia
DRAINAGE AREA | percentage | square miles
Above the mouth of the Savannah River | 100 | 10579
Above Augusta, Georgia (Butler Cr. gage) | 71 | 7508
Above J. Strom Thurmond Dam | 58 | 6144
Above Richard B. Russell Dam | 27 | 2890
Above Hartwell Dam | 20 | 2088
Basin between Russell Dam and Hartwell Dam | 8 | 802
(One inch of runoff over the Savannah River Basin above Russell Dam equals 154,133 acre-feet)
STORAGE VOLUMES | Elevation (ft NGVD) | Acre-feet
Spillway design flood | 490 | 1488155
Standard project flood | 484.3 | 1305000
Flood control pool | 480 | 1166166
Maximum conservation pool | 475 | 1026200
Minimum conservation pool | 470 | 899400
Conservation storage, usable | 470 to 475 | 126800
Flood storage | 475 to 480 | 140000
Surcharge storage | 480 to 490 | 322000
RESERVOIR AREAS | Elevation(s)(ft NGVD) | Acres
Spillway design flood ( Max Surcharge Pool) | 490 | 35150
Standard project flood | 484.3 | 31770
Flood control pool | 480 | 29340
Maximum conservation pool | 475 | 26653
Minimum conservation pool | 470 | 24117
Limits of clearing | 465 to 477 | 5880
| 462 to 476 | 4938
| 440 to 462 | 8938
| below 440 | 12400
| 430 to 465 | 11890
| below 430 | 7540
DAM, SPILLWAY, INTAKE AND POOL ELEVATIONS | Elevation(s)(ft NGVD)
Top of dam | 495
Maximum Observed Pool | 479.75 | 2003-04-14
Minimum Observed Pool | 468.7 | 1984-11-15
Spillway design flood | 490
Induced surcharge pool | 485
Standard project flood | 484.3
Top of tainter gates, closed | 481
Flood control pool | 480
Maximum conservation pool | 475
Average conservation pool | 473
Minimum conservation pool | 470
Spillway crest | 436
Intake invert for Hydropower | 370
Spillway bucket lip | 357.25
Elevation, bottom of sluice | 320
Draft tube exit | 265
Bottom of draft tube (conventional units) | 262
Bottom of draft tube (pump units) | 250
POWERPLANT ELEVATIONS | Elevation(s)(ft NGVD)
Switchyard | 358
Distributor | 300
Bottom of draft tube | 262
Bottom of pump unit | 250
TAILWATER ELEVATIONS | Elevation(s)(ft NGVD)
Spillway design flood | 356 | (801,500 cfs)
Standard project flood | 343 | (360,000 cfs)
Maximum pool of record | 332.5
Four units operating at average head | 327.5
Maximum static condition | 312
Streambed | 300
DAM, SPILLWAY AND INTAKE DIMENSIONS
Concrete gravity and earth embankment with concrete gravity ogee spillway
Length of concrete sections | 1,883.5 feet
Length of earth embankment, Georgia | 2,180.0 feet
Length of earth embankment, South Carolina | 460.0 feet
Maximum height of concrete section | 210 feet
Maximum height of earth embankment | 195 feet
Length of intake section | 284 feet
Number of sluices | 5
Width of sluices | 5.67 feet
Height of sluices | 10 feet
Gross length of spillway | 590 feet
Length of clear opening | 500 feet
Tainter gates (10) | each 50 feet wide by 45 feet high
Flip bucket | 45 degrees
Radius of bucket | 50 feet
DESIGN FLOWS | Cubic feet per second
Standard Project Flood (SPF) Peak Reservoir Inflow | 518,000 cfs
Maximum Estimated Outflow | 360,000 cfs
Spillway Design Flood
Peak Reservoir Inflow | 1,035,210 cfs
Maximum Estimated Outflow | 801,500 cfs
POWERPLANT EQUIPMENT
Initial units | 4 conventional
Supplemental Units | 4 pump turbine
Maximum net operating head | 162 feet
Average operating head | 144 feet
Minimum operation head | 134 feet
Turbine capacity at average head | 104,000 hp per unit
Maximum discharge at minimum head | 8,000 cfs per unit
Length of draft tube | 70 feet
GENERATORS
Initial installation | four conventional units | 80 MW
Supplemental installation | four pump turbine units | 80 MW
Total installation | 640,000 kW
Average annual energy | 466,090,000 kilowatt-hours
Generator rating | (95% pf) | 78,947 kVa
Generator speed | 120 rpm
Generator voltage | 13.8 kV
Transformer rating, | two 3-phase, | each 182,000 kVa
Transformer voltages | 13.2 to 230 kV
SWITCHYARD
Location west (Georgia) bank, downstream
Initial number of transformer bays | 2
Ultimate number of transformer bays | 3
Line positions | 4
Equipment voltage | 230 kV

## JST
J. STROM THURMOND DAM AND LAKE
GEORGIA AND SOUTH CAROLINA
VII - WATER CONTROL PLAN
T7-01. General Objectives .
The J. Strom Thurmond Project was the first of three multiple-purpose projects that the Federal Government built in the Savannah River Basin. This project, originally named the Clark Hill Project, was completed and began operation in 1952. The authorized purposes of the J. Strom Thurmond project are water supply, hydroelectric power, flood control, fish and wildlife, water quality and recreation. This water control management plan has been developed for the J. Strom Thurmond Dam and Lake multi-purpose project to conform with the objectives and specific provisions of the authorizing legislation for the Hartwell, Richard B. Russell and Thurmond projects and applicable Corps of Engineers directives.
T7-02 . Overall Plan for Water Control .
Water control management decisions at the J. Strom Thurmond Project take into account hydrologic and climatological factors, conditions at the upstream projects, needs of the downstream water users, potential threats of flood or drought, present and projected lake levels, and the constraints of recreation, fish management, water supply, water quality, and hydroelectric power production. Evaluation of these factors requires well-qualified, technically trained personnel with special experience in the field of modern hydrology, hydraulic engineering, and water control management. The Savannah District maintains this expertise in the Hydraulics Section of the Hydrology and Hydraulics Branch (the Water Control Center), with the assistance of fish and wildlife and recreation experts. Close coordination with the plant operators, whose experience and on-site location makes them a vital part of the water control team, is essential. The Savannah District reports water control conditions and activities to the South Atlantic Division (SAD) office in Atlanta.
The J. Strom Thurmond Project has 18 feet of conservation storage, from elevation 312 to 330 feet NGVD, which accounts for 1,045,000 acre feet of storage. The flood control storage available between 330 and 335 is 390,000 acre feet. The project has a seasonal drawdown of the flood control pool. The guide curve is shown in Plate T7.9. The area-capacity curve for the project is found at Plate T7.3 and the corresponding storage table is shown in Table T7-1.
a. System management . Decisions concerning water control for the Thurmond Project are part of a coordinated multi-reservoir system regulation for the Savannah River Basin, as well as part of the operation of the larger power network for the southeastern United States (coordinated through SAD).
b. Compatibility Among Purposes .
Fish and Wildlife or Water Quality and turbine or spillway releases for Flood Control : During flood control operations, passing inflow through the project may have negative impacts on water quality or fisheries, both within the lake and downstream.
Fish and Wildlife or Water Quality and turbine releases for Hydropower : During periods when the pool must be maintained at a constant level for such purposes as fish spawning, releases through the turbines for energy production may be curtailed or eliminated altogether, depending on inflows.
Recreation and Hydropower : Particularly during drought periods, potential exists for such a conflict. Continued power generation to meet contractual requirements for electrical power may cause pool elevations to fall to levels which adversely affect recreational uses of the lake. Boat ramps may no longer be functional, underwater hazards may become a danger to boaters, and formerly scenic areas may become unattractive.
Water Supply and Hydropower : Particularly during drought periods, potential exists for such a conflict. Continued power generation to meet contractual requirements may cause pool levels to fall below the elevations of the intake structures of the water users for Thurmond Lake.
Recreation and Flood Control : Due to the risk of flood damages and injuries, any necessary flood control regulation is given highest priority.
c. Normal Regulation Activities .
The Water Control Center is responsible for the long term planning and supervision of the operation of rainfall and river stage reporting. Weekly activities are as follows:
(1) Weekly Water Volume Analysis . The Water Control Manager compiles necessary basic data on precipitation, river stages, reservoir elevations, and general streamflow conditions. Using this data, the manager prepares inflow, discharge, storage and pool elevation projections for the following week, which is presented by noon each Wednesday. Water generation availability analyses and forecasts for the three reservoir system are also presented at this time. Projections are based on lake levels, lake level guide curves, power contract commitments, antecedent and expected rainfall, and rainfall-runoff relationships for the upper Savannah River Basin. Additional considerations which affect discharges are powerplant maintenance activities, proposed operational changes which would affect power generation, and water level management activities related to fisheries or recreation. Input concerning these matters is normally received on Wednesdays from the Planning Division and the Technical Support Branch of Operations Division.
(2) Weekly Report to the South Atlantic Division (SAD) . The weekly declaration of releases, the "Water Volume Analysis",is posted on the Water Management web site,http://water.sas.usace.army.mil, and is transmitted to the Water Management Branch of South Atlantic Division by the Water Control Center every Wednesday afternoon. The water control managers then consult with the Southeastern Power Administration (SEPA), the marketing agency for Federally generated power in the southeastern states.
(3) Weekly Meeting . Each Thursday morning the Water Control Manager conducts a meeting with Operations and Planning Division personnel to review storage and pool elevation projections and power generation availability analyses. The Water Control Manager transmits water control data (pool elevations, inflows, outflows, precipitation, hydrographs at downstream control points, and other hydrologic data) to SAD.
(4) Final Generation Schedule . Following confirmation by SEPA, SAD advises the Water Control Center each Friday of the amount of energy to be taken from each of the three projects. SEPA's customers (the power companies) furnish hourly schedules directly to the Project Operator with copies furnished to the Water Control Center.
T7-03 . Standing Instructions to the Project Operator .
A summary of reservoir regulation procedures for the project operator during both normal and emergency situations is found in Exhibit T7-A. During communication outages, unforeseen or emergency events, as well as periods of normal operation, standing instructions are essential to ensure efficient and safe operation of the project at all times. The operation instructions clearly outline the physical constraints, such as spillway/outlet work restrictions, based on design limitations.
The Hydraulics Section, Hydrology and Hydraulics Branch, Engineering Division, Savannah District, is responsible for water control management of the Savannah River Basin which includes the regulation of the J. Strom Thurmond Dam and Lake. Operations Division is responsible for the operation and maintenance of these projects. Assigning responsibility for water control management to the Hydraulics Section does not diminish the necessity for or the
desirability of appropriate and adequate inter-staff coordination. Hydraulics Section is responsible for insuring that such coordination has been effected and subsequent actions are taken. The project operators at each of the three dams are responsible to the water control manager for all water control actions.
Transmission of instructions from the water control manager through several individuals or organizational units can be a source of delay and misunderstandings. Clear lines of communication and authority must be maintained. Occasionally, water control management decisions necessitate that the water control manager (in Engineering Division) contact the project operator directly so that satisfactory instructions can be given or hydrologic data can be obtained. Particularly during time of emergencies, there must be no delay in transmission of instructions or hydrologic data between the project operator and the water control manager. In these instances, the project operator will act on instructions received directly from the water control manager on all matters regarding the regulation of water. Advisory notification is furnished to Operations Division as soon as possible.
T7-04 . Flood Control .
a. General . The objective of flood control regulation at the J. Strom Thurmond Project is to reduce flood damages to the lower Savannah River Basin the extent possible. Normal conditions exist when there is no flood, drought or other emergency and none is anticipated. Normal pool varies seasonally from elevation 326 to 330 feet NGVD. During the period between May and October 15th, the J. Strom Thurmond Project has 5 feet of flood control storage, from elevation 330 feet NGVD to 335 feet NGVD. The flood control storage available between 330 and 335 is 390,000 acre feet. Between October 15th and December 15th the pool is drawn down to a seasonal normal pool of 326 ft NGVD, to allow for the statistically higher winter and spring rainfall. This increases the available storage by 280,000 acre feet, to a total available storage of 670,000 acre feet. (see Table T7-1) From January to May, the normal pool is increased back to elevation 330. The guide curve is shown in Plate T7.9
b. Flood Regulation . Reservoir operation during flood conditions must be adjusted to account for variation in reservoir stage and quantity of rainfall runoff. Plate T7.4 contains detailed instructions for operations to fit the individual flood occurrence. All instructions pertaining to reservoir regulation for flood control are to come from the Savannah District. See the Table 5-3 for a listing of Savannah District flood control personnel and their telephone numbers.
The Water Control Manager performs flood routings and makes lake elevation and river stage forecasts, and coordinates and schedules lake releases during flood periods. Flood forecasting is accomplished using the Hydrologic Engineering Center (HEC) computer software HEC-1F, a rainfall model which uses real-time precipitation data to estimate inflows at the projects. HEC-5, an HEC model which simulates and analyzes the operation of reservoir systems, is a highly complex multi-purpose, multi-reservoir, multiple flood reservoir system simulation tool. The model is capable of evaluating a reservoir system to determine the best operation for water quantity and quality, evaluating operational concerns such as flood control, hydropower and water supply. Mod-5 is an interactive version of HEC-5, and will enable the Water Control Manager to model various release scenarios to best manage the projects
During floods, the Water Control Manager forwards reports as necessary to SAD containing data on predicted peak stages and percentage of flood control storage utilized. The Water Control Manager informs responsible District personnel on critical weather and streamflow conditions affecting the public and District activities, and coordinates with the public affairs office to issue flood reports on flood emergencies.
When the possibility of flooding conditions at or downstream of the reservoirs exists, the Savannah District Operations Division Readiness Branch (OP-E) is contacted. OP-E coordinates implementation of evacuation plans with local government agencies prior to any flood releases, notifies the City of Augusta of the possible need for stoplogs to be installed in the levee, and dispatches flood survey teams to affected areas and notifies local officials that District facilities and personnel are available upon request to assist in emergency conditions. The Water Control Manager furnishes a forecast of pool elevations and releases to be made to meet downstream flood control requirements to the Water Management Branch, SAD. At least one of the following SAD personnel will be contacted during a flood emergency:
Mr. Chris Smith | Office | (404)331-6705
Mr. Gary Mauldin | Office | (404)331-5232
After reviewing these directives, the Hydraulics Section advises SEPA of releases to be made, and then advises the Water Control Management Branch, SAD of arrangements made with SEPA. The Water Control Manager contacts the Project Operator, and informs him of the required releases to be made as well as the allowable variations from those values. An advisory notification is then sent to Operations Division. The Water Control Manager also notifies Operations Division and SAD of the arrangements made at the first opportunity during normal working hours. The J. Strom Thurmond Flood Control Release Schedule is found in Plate T7.4.
c. Gate Operation . When J. Strom Thurmond Lake exceeds its flood control storage, use of the tainter gates according to the Spillway Gate Regulation Schedule (Plate T7.5) is required. All discharges other than that through the turbines should be made through the spillway gates. When all spillway gates are to be opened, discharges should be made uniformly across the spillway, as nearly as practicable, by opening gates so that no gate opening is more than one foot larger or smaller than any other gate opening . Gates should be opened beginning near the center of the spillway (#12) and proceeding outward. When closing the gates, the order is reversed, with #1 and #23 closed first, and proceeding towards the center of the spillway. As during raising, the gates should be closed so that no gate opening is more than one foot larger or smaller than any other gate opening. The spillway gates are numbered 1 through 23 beginning with the gate nearest the powerhouse.
d. Emergency Regulation . Occasionally, a need may arise to temporarily modify the water releases from a project. Examples of these needs are for search and rescue operations, to provide a specified downstream flow for a particular event, or to control a downstream pollutant.
In the execution of the water control plan, appropriate attention is given to project safety to insure that the project is operated for the safety of its users and the general public. Care is exercised in the scheduling of reservoir releases to assure that controlled releases minimize project impacts and do not jeopardize the safety of persons engaged in activities downstream of the dam. These provisions require alerting all affected interests to possible hazards.
Should a person fall into the tailrace or intake section of the project, come into contact with an energized conductor within or feeding from the project, or other wise place himself in imminent danger, the powerplant operator or nearest responsible employee takes emergency actions in accordance with established procedures.
T7-05 . Recreation .
The development of recreational facilities at J. Strom Thurmond Lake was based on Master Plan for Public Use and Administrative Facilities, which was updated in 1966. Recreation is an authorized purpose under the Water Resources Development Act of 1986 (PL 99-662, 100 Stat 4082, November 17, 1986).
Thurmond lake has various recreational facilities, including boat launching facilities, picnic areas, camping sites, scenic overlooks, and swimming areas. The lake and lakeshore area are managed by Operation Division's Project Office. Thurmond lake is among one of the 10 most-visited Corps of Engineers lakes in the United States
Approximately two thirds of the 71,100 acre lake is in Georgia, with the remainder in South Carolina. The irregular wooded shoreline, 1,100 miles in length, is considered a major scenic attraction. Recreational facilities include Picnic areas, boat launching ramps, family camping units, swimming areas, scenic overlooks, and various other public and private facilities.
Lake Levels are normally maintained at approximately elevation 330 from May to mid October. J. Strom Thurmond's seasonal draw down is four feet, and occurs after peak visitation periods, and causes minimal impacts to recreation activities in and around the lake. During periods of drought low lake levels may make certain boat ramps unusable, diminish the aesthetic quality of the scenery, and make some public or private facilities unavailable or undesirable.
T7-06 . Water Quality .
The Clean Water Act established a national objective to restore and maintain the chemical, physical and biological integrity of the Nation's waters. The thrust of this objective is to protect all existing and future uses, including assimilative capacity, aquatic life and other water quality aspects, as well as related uses, such as municipal and industrial water supply, recreation and hydropower. Our national policy is that the Federal Government (in design, construction, management, operation and maintenance of facilities) provides leadership in the nationwide effort to protect and enhance the quality of air, water and land resources and complies with all Federal, state, interstate and local requirements in the same manner and extent as non-Federal entities. Accordingly, the following general water quality management objectives apply to all South Atlantic Division lake projects:
a. Insure that water quality, as affected by the project and its operation, is suitable for project purposes, existing water uses, and public health and safety.
b. Define baseline water quality conditions for each project. This effort consists of a pre-project water quality evaluation, and a description of the post-construction water quality characteristics developed at the earliest time that data collection and evaluation are practical.
c. Establish and maintain a water quality monitoring and data evaluation program adequate to achieve water quality management objectives and demonstrate project performance.
d. Assure that, to the extent practicable, water quality conditions associated with the project are in full compliance with applicable water quality standards.
Like all deep lakes in the South, Thurmond Lake stratifies during the summer months. A thermocline (temperature/density gradient in a layer called the metalimnion) is established during the summer months as the top waters (epilimnion) warm quicker than those at the bottom (hypolimnion). The thermocline essentially blocks circulation between the layers (which is normally provided by wind induced currents) from providing oxygen from the atmosphere and top waters to the bottom waters. Continued deposition of oxygen-demanding substances deplete the dissolved oxygen within the bottom waters, particularly at the mud/water interface. During hydropower generation in the summer, the waters discharged through the Thurmond Dam are drawn from the hypolimnion. As the summer progresses, the quality of these waters (dissolved oxygen content) degrades until "turnover," that is, the recirculation of the waters in the fall when the surface water has cooled to the temperature of the bottom waters, eliminating the temperature/density gradient.
Minimum releases of 5,400 cfs from J. Strom Thurmond Dam are the basis for Georgia NPDES Permits. South Carolina NPDES permits are based on a minimum release of 4,500 cfs. When discharges from Thurmond are below these rates, violations of permit requirements may be expected.
T7-07 . Fish and Wildlife .
The Savannah District conducts the following Water Control Management for Fish Management Purposes:
a. Fish Spawning . Water control management for fish management purposes is conducted in accordance with SAD Regulation 1130-2-16 (Exhibit B). At the earliest possible date, Operations Division notifies the Water Control Manager of the beginning and ending of the large-mouth bass spawning period. During the spawning period, the Water Control Manager schedules releases (to the maximum extent possible without jeopardizing other project purposes) so that the downward fluctuation or lowering of the lake level will not exceed 6 inches from the maximum elevation reached during the spawning period. Should it appear that maintaining lake level fluctuations within the six inch limit will not be possible, the SAD Water Control Management Branch and the Project Manager are notified by the Water Control Manager as far in advance as possible.
b. Fish Entrainment . The Savannah District restricts discharges at the Thurmond Project when there is a threat of killing significant numbers of fish. Fish kills at the upstream Hartwell Project and at the Thurmond Project have involved the Blueback herring. The Savannah District consequently developed the Plan of Action to Prevent or Minimize Blueback Herring Entrainment at Hartwell and J. Strom Thurmond Dams (Exhibit H7-C). The likelihood of a fish kill is determined by the Operations Division Fisheries Biologist at the project. Operations Division has a seasonal monitoring program conducted by the Waterways Experiment Station (WES) within the lakes to detect potential fish kills. Should a fish kill occur, notification of personnel will follow the procedures of the current Plan of Action to Prevent or Minimize Blueback Herring Entrainment (most recently prepared in 1995). Power system emergencies which threaten interruption of power and/or brownouts override this policy.
In addition, water management plans are developed and enacted in conjunction with the states of Georgia and South Carolina to manage fish and wildlife habitats.
T7-08 . Water Supply .
Water supply is an important consideration in the water control management of the upper Savannah River Basin. There are approximately 73 water users that obtain all or a portion of their municipal or industrial water supply from the Savannah River or from Hartwell, Russell and Thurmond Lakes.
The Water Control Manager notifies water users of any impending interruption in their water supplies due to modified project releases, and forwards periodic reports to SAD during droughts showing projected reservoir stages including a "worst case" hydrologic condition.
HEC-5 is the computer model which we have chosen to predict pool fluctuations. This model takes into account predicted inflows, and hydropower demands, as well as various operating restrictions which are imposed during drought periods.
Minimum releases are partially based on the needs of downstream water users. Several domestic and industrial users withdraw water directly from the J. Strom Thurmond lake. During period of drought minimum releases are 3600 cfs to satisfy these downstream users. (See Plate T7.10 and Exhibit M)
T7-09 . Hydroelectric Power .
Power is generated at J. Strom Thurmond and marketed by the Southeastern Power Administration (SEPA), as is all power produced at Federal projects (except the Tennessee Valley Authority and St. Stephens) in the states of Georgia, South Carolina, North Carolina, Virginia, Florida, Kentucky, Tennessee, West Virginia, and Alabama. SEPA combines the three Savannah District projects with seven Mobile District projects (in the Alabama-Coosa and Apalachicola-Chattahoochee-Flint Basins) to form the Georgia-Alabama-South Carolina System. Hydropower may be supplied by any combination of projects within the ten plant system. Under normal circumstances, if one basin or portion of a basin is unable to meet the power productions expected, the shortage can be transferred to, or "made up" in, another basin. SEPA markets the power through contracts negotiated with certain preference customers for the delivery of energy and the ability to meet peaking demands. Inter-basin system approach. Generation scheduling is determined by the Water Control manager on a weekly basis (see T7.02 c. above).
The installed capacity of the J. Strom Thurmond Powerhouse is seven 40-Megawatt generation units for a total generating capacity of 280 megawatts. Two station service units produce up to two megawatts which are not declared for capacity, but are included in plant discharge computations. Discharge generation curves are shown on Plates T7.8a (Units 1-7) and T7.8b (Station Service Units). A maintenance project to replace and upgrade the generation units is scheduled for Fiscal Year (FY) 1997. The design generating capacity is planned to be increased by 42 megawatts with the maximum capacity increased by 122.5 megawatts.
T7-10. Navigation .
The J. Strom Thurmond Project is no longer operated for navigation due to the cessation of commercial traffic on the Savannah River. Presently, the minimum flow requirement of 5800 cfs, which was authorized at the Thurmond Project for navigation on the lower Savannah River, has been superseded by minimum Thurmond discharges based on the needs of downstream water supply withdrawals.
Occasional special events downstream of J. Strom Thurmond may require control of release rates. In most cases, control of the Stevens Creek Project, and the New Savannah Bluff Lock and Dam would be utilized to attain the desired water elevations before variations in J. Strom Thurmond releases would be considered.
T7-11 . Other .
Incidental spills may occur for debris control (in the spillway), low flow augmentation, special or emergency drawdown, water table considerations, or to accommodate construction or testing.
T7-12 . Deviation from Normal Regulation .
The District Engineer occasionally receives requests to deviate from normal project regulations. Prior approval for a deviation is obtained from the South Atlantic Division (SAD) Office except as noted in subparagraph a. below. Deviation requests usually fall into the following categories:
a. Emergencies . Some emergencies that can be expected to occur at random times are: accidents such as drowning, and failures of the operation facilities. Necessary action under emergency conditions is taken immediately unless such action would create equal or worse conditions. The SAD Office is notified as soon as is practicable. A written confirmation showing the deviation and conditions will be furnished to SAD.
b. Unplanned minor variations . Unplanned variations may occur for non-emergencies. Examples of these may include construction needs for utilities or bridges, and may require a time window anywhere from a few hours to a few days.
c. Planned deviations . An analysis of conditions, alternatives, expected benefits, probable effects will be coordinated with SAD by telephone, fax or E-mail, along with recommendations for review and approval. Examples of planned deviations could be to prevent fish entrainment, or for drought contingencies. A copy of the Drought Contingency Plan is included as Exhibit M, while the drought plan action levels are shown on Plate T7.10
T7-13 . Operation of New Savannah Bluff Lock and Dam . The lock is presently operated by the Augusta-Richmond County consolidated government. The gates of the dam are operated remotely from the Thurmond Project powerhouse to maintain the recreational and water supply pool in the Augusta area.
The upper pool should normally be maintained between elevation 115 and 116 feet NGVD (gage height 14 to 15 feet), unless the necessity for maintaining minimum flow in the river downstream requires a further drawdown. The pool should not be drawn below 11.5 feet on the upper pool gage without giving advance warning to the water supply interests in the lock and dam pool to allow them to make emergency arrangements. Changes in the pool level, as well as the desired discharge downstream, determine the settings of the vertical gates.
The gates are normally set with the two overflow gates (#1 and #5) down (closed), and the three interior gate openings set according to the desired discharge. Tables describing New Savannah Bluff Lock and Dam gate settings and discharges are included in Exhibit O. These tables are taken from the Savannah River Emergency Action Plan, DP 1130-2-16, Appendix C. During flood operation, the upper pool should be maintained near elevation 114, (gage height 13.0 feet), + or - 0.5 foot. If inflows are such that the pool continues to rise, all gates are opened 1.8 feet; then 2, 2.5, 3, 4, 5, 7 and 9 feet until all the gates are clear of the water. For falling stages the gate operation is reversed.
EXHIBIT T7-A
STANDING INSTRUCTIONS TO THE PROJECT OPERATOR FOR WATER CONTROL
J. STROM THURMOND DAM AND LAKE PROJECT
1. BACKGROUND AND RESPONSIBILITIES
a. General Information . These "Standing Instructions to the Project Operator for Water Control" are written in compliance with Paragraph 9-2 of Engineering Manual 1110-2-3600 (Engineering and Design, MANAGEMENT OF WATER CONTROL SYSTEMS, 30 November 1987) and with Engineer Regulation 1110-2-240 (Engineering and Design, WATER CONTROL MANAGEMENT, 8 October 1982).
(1) Project Purposes . The operating purposes of the J. Strom Thurmond Project, are Recreation , Hydroelectric Power , Water Supply , Fish and Wildlife , Water Quality , and Flood Control .
(2) Chain of Command . The Project Operator is responsible to the Water Control Manager for all water control actions.
(3) Structure . The J. Strom Thurmond Dam is located at Savannah River Mile 221.6, Columbia County, Georgia and McCormick County, South Carolina. The dam is a concrete gravity and earth embankment structure with a concrete gravity ogee spillway. The Thurmond Powerhouse is located on the South Carolina (east) side, immediately downstream of the dam.
(4) Operations and Maintenance (O&M). All O&M activities are the responsibility of the U.S. Army Corps of Engineers.
b. Role of the Project Operator .
(1) Normal Conditions (dependent on day-to-day situation) . During normal conditions, all releases will be made through the turbine units. The water control manager will coordinate the weekly water control actions with SEPA. The Project Operator will then receive instructions from SEPA. This will be increased to a daily basis if the need develops. Any special instructions on the operation of the gates at New Savannah Bluff Lock and Dam will be received directly from the water control manager.
(2) Emergency Conditions (flood or drought) . The Project Operator will be instructed by water control managers on a daily or hourly basis for water Exhibit T7-A
STANDING INSTRUCTIONS TO THE PROJECT OPERATOR (Continued)
control actions during flood events and other emergency conditions. In the event that communications with water control managers are cut off during a flood event, the operator should regulate plant discharge in accordance with Plate T7.4, Flood Control Release Schedule, Plate T7.5, Spillway Gate Regulation Schedule, and Plate T7.6, Tainter Gate Rating Curves, and notify local civil defense authorities in the event that spillway releases are required.
2. DATA COLLECTION AND REPORTING .
a. Normal Conditions . Project data is recorded hourly by the project operator. The data is retrieved hourly by the Water Control Manager and loaded into the Water Control Data System. The data is subsequently made available on the Water Management web site at http://water.sas.usace.army.mil:
(1) Pool Elevations in feet NGVD are collected hourly.
(2) Basin Average Precipitation in hundredths of an inch is estimated hourly from NWS doppler radar.
(3) Tailwater Elevations in feet NGVD are collected hourly.
(4) Discharge in cubic feet per second is collected hourly.
(5) Inflow to the lake in cubic feet per second is collected hourly.
(6) Scheduled and Actual Generation in megawatt-hours is collected hourly.
b. Emergency Conditions . Report hourly the elevation, turbine discharge, spillway discharge, and general project status to the Water Control Manager.
c. Regional Hydro-meteorological Conditions . The Project Operator will be informed by the Water Control Manager of regional hydrometeorological conditions that may/will impact the structure.
3. WATER CONTROL ACTION AND REPORTING .
a. Normal Conditions . The Project Operator reports directly to the Water Control Manager.
b. Emergency Conditions . The Project Operator will follow the Savannah River Emergency Action Plan (District Pamphlet 1130-2-16, Appendix B) for emergency notification procedures.
c. Inquiries . All significant inquiries received by the Project Operator from citizens, constituents or interest groups regarding water control procedures or actions must be referred directly to the Water Control Manager.
d. Water Control Problems . The Project Operator must immediately notify the Water Control Manager, by the most rapid means available, in the event that an operational malfunction, erosion or other incident occurs that could impact project integrity in general, or water control capability in particular. Such incidents are discussed in Appendix A of DP 1130-2-16, the Emergency Action Plan.
EXHIBIT T7-B
PERTINENT DATA
J. STROM THURMOND DAM AND LAKE
LOCATION
In the Piedmont Area at Latitude 33o - 39' N, Longitude 82o - 11' W
On the Savannah River:
221.6 miles above the mouth
207.2 miles above Savannah, Georgia
22.0 miles above Augusta, Georgia
37.5 miles below Richard B. Russell Dam
67.3 miles below Hartwell Dam
In Columbia County, Georgia and McCormick County, South Carolina 23 miles southeast of Augusta, Georgia
DRAINAGE AREA
. | percentage | square miles
Above the mouth of the Savannah River | 100 | 10579
Above Augusta, Georgia (Butler Cr. gage) | 71 | 7508
Above J. Strom Thurmond Dam | 58 | 6144
Thurmond Local Basin | . | 3254
Uncontrolled local area | (Thurmond Dam to Butler Creek) | 1364
STORAGE VOLUMES | Elevation (ft NGVD) | Acre-feet
Spillway design flood | 344.7 | 3700000
Standard project flood | 342.1 | 3450000
Flood control pool | 335 | 2900000
Maximum conservation pool | 330 | 2510000
Minimum conservation pool | 312 | 1465000
Conservation storage, usable | 312 to 330 | 1045000
Flood storage | 330 to 335 | 390000
Surcharge storage | 335 to 346 | 920000
RESERVOIR AREAS
| Elevation(ft NGVD) | Acres
Max Induced Surcharge Pool | 346 | 98500
Spillway design flood | 344.7 | 94700
Standard project flood | 342.1 | 90000
Flood control pool | 335 | 78500
Maximum conservation pool | 330 | 72000
Minimum conservation pool | 312 | 45000
DAM, SPILLWAY, INTAKE AND POOL ELEVATIONS
Elevation(ft NGVD)
Top of dam | 351
Maximum Observed Pool | 336.46 | 1964-04-11
Minimum Observed Pool | 296.4 | 1956-02-03
Spillway design flood | 344.7
Induced surcharge pool | 346
Standard project flood | 342.1
Top of Tainter gates, closed | 335
Flood control pool | 335
Maximum conservation pool | 330
Average conservation pool | 327.5
Minimum conservation pool | 312
Spillway crest | 300
Intake invert for Hydropower | 228
Spillway bucket lip | (varies) 185.0
Elevation, bottom of sluice | 190
Draft tube exit | 160
Bottom of draft tube | 154
POWERPLANT ELEVATIONS
. | Elevation(ft NGVD)
Switchyard | 240.5
Transformers | 235
TAILWATER ELEVATIONS
. | Elevation(ft NGVD)
Spillway design flood (1,055,000 cfs) | 255
Standard project flood (645,000 cfs) | 240
Maximum pool of record (277,000 cfs) | 220.5
7 units Operating at Average Head | 193
1 units Operating at Average Head | 185
Average Operating condition | 191
Streambed | 176
DAM, SPILLWAY AND INTAKE DIMENSIONS
Concrete gravity and earth embankment with concrete gravity spillway
Length of concrete sections | 2,282 feet
Length of earth embankment | 3,398 feet
Maximum height of concrete section | 200 feet
Maximum height of earth embankment | 151 feet
Length of intake section | 434 feet
Number of sluices | 8
Width of sluices | 4 feet
Height of sluices | 9 feet
Spillway
Gross length of spillway | 1,096 feet
Length of clear opening | 920 feet
Tainter gates (23) | each 40 feet wide by 35 feet high
Width of Gate | 40 feet
Height of Gate | 35 feet
Type of Bucket | Submerged Roller Bucket
Radius of bucket | 50 feet
DESIGN FLOWS | Cubic feet per second
Standard Project Flood (SPF)
Peak Reservoir Inflow | 645,000 cfs
Maximum Estimated Outflow | 560,000 cfs
Spillway Design Flood
Peak Reservoir Inflow | 1,180,000 cfs
Maximum Estimated Outflow | 1,055,000 cfs
POWERPLANT EQUIPMENT
Conventional Operating Units | 7 | 52 MW
Service Units | Two
Maximum net operating head | 152 feet
Average operating head | 136 feet
Minimum operation head | 118 feet
Turbine capacity at average head | 55,000 hp per unit
Maximum discharge at critical head | 4,920 cfs per unit
Length of draft tube | 59 feet
GENERATORS
Total installation | 364 MW
Average annual energy | 654,701,000 kilowatt-hours
Generator rating | (0.9 pf) | 44,444 kva
Generator speed | 100 rpm
Generator voltage | 13.8 kV
Transformer rating, | three three-phase, | each 105,000 kva
Transformer rating, | one three-phase, | 52,500 kva
Transformer voltages, kV | 13.2 to 115 kv
SWITCHYARD
Location East (South Carolina) Bank, Downstream
Number of Bays | 11
Number of Generator Bays | 4
Number of Line Bays | 7
Equipment voltage | 115 kV